SAMPLE SPECIFICATION:

SECTION 04902-CLAY MASONRY RESTORATION

PART 1-GENERAL

1.1 SUMMARY OF WORK

A.  Extent of masonry restoration work is as shown on the Drawings and as specified herein.

1.  The drawings endeavor to show the extent of masonry restoration work required.  The

contractor shall review the Drawings, Photographs and make a Pre-bid field visit to verify all work whether shown or not shown on the Drawings.

B.  The work includes, but is not limited to:

1.  Repairing hairline cracks, microscopic cracks, cracks and voids in terra cotta construction.

2.  Patching clay masonry structures.

3.  Repairing glaze spalls.

4.  Re-pointing mortar joints.

5.  Re-glazing of terra cotta.

C.  Related work described elsewhere:

(Optional)

1.  Joint sealants:  section 07900

2.  Water repellent:  section 07180

3.  Special Coatings:  section 09800

1.2 QUALITY ASSURANCE

A.  Restoration Specialist:  Work must be performed by a firm having not less than 5 years successful experience in comparable masonry restoration projects and employing personnel skilled in the restoration process and operations indicated.

1.  Only skilled journeymen masons who are familiar and experienced with the materials and methods specified and are familiar with the design requirements shall be used for masonry restoration.

2.  One skilled journeyman mason, trained and Certified by the specified terra cotta repair system manufacturer, shall be present at all times during masonry restoration and shall personally direct the work.

B.  Field -Construction Mock-ups:  Prior to start of general masonry restoration, prepare the following sample panels and sample areas on building where directed by Architect.  Obtain Architect's acceptance of visual qualities before proceeding with the work.  Retain acceptable panels in undisturbed condition, suitably marked, during restoration as a standard for judging completed work.

1.  Cleaning:  Demonstrate materials and methods to be used for cleaning for each type of masonry surface and condition on sample panels each approximately 25 sq. ft. in area.  Allow waiting period of duration not less than 7 calendar days after completion of sample panels for negative reactions.

2.  Paint, Graffiti, and Metallic stain removal:  Demonstrate materials and methods to be used for paint, graffiti, and stain removal for each type of masonry surface and condition of sample panel 4 sq. ft. in area.  The removal method or methods shall be tested on an inconspicuous area of the building.

3.  Crack Repair:  Prepare a sample area for each type of crack repair required (i.e. hairline cracks, microscopic cracks, cracks and voids larger than 1/8"). Repair shall demonstrate methods and quality of workmanship expected for crack repair.

4.  Patching:  Prepare on-building sample of each type of stone and masonry construction to be patched, rebuilt and/or replaced.  Patching and castings (if applicable) shall demonstrate methods and quality of workmanship expected of repair work.

5.  Masonry Repair:  Prepare sample panels of min. 9 sq. ft. in size for each  type of masonry material indicated to be patched, rebuilt or replaced.  Erect mock-up panels in-place at areas indicated to be restored/repaired, in exact locations as directed by Architect, to demonstrate quality of materials and workmanship.

6.  Re-pointing:  Prepare 2 separate sample areas of approximately 5' high by 5' wide for each type of re-pointing required, one for demonstrating methods and quality of workmanship expected in removal of mortar from joints and the other for demonstrating quality of materials and workmanship expected in pointing mortar joints.  Sample areas shall be located in an inconspicuous yet readily accessible place.

C.  Patching, Re-pointing and coating work:  The samples of each type of repair work shall be done in an area that will be exposed to the same weathering conditions as the building.  Allow samples to cure at least three days before obtaining acceptance of color, texture and detailing match. Samples shall be viewed from an approved distance.

D.   Source of Materials:  Obtain materials for patching, coating, sealing, crack repair and

re-pointing from a single manufacturer source to ensure match quality, color, texture and detailing.

1.3 SUBMITTALS

A.  Product Data:  Submit manufacturer's technical data for each product specified including recommendations for their application and use.  Include test data and certifications substantiating that products comply with requirements.

B.  Submit the following items in time to prevent delay of the work and to allow adequate time for review and resubmittals, if needed. Do not order materials or start work before receiving the written approval:

1.  Written certificates from the patching materials manufacturer should be submitted stating that all installers of the patching material have successfully completed a training workshop for installation of the patching material, or have met alternative workmanship qualifications acceptable to the manufacturer, or provide written certification from the manufacturer that on-site training services have been contracted for.

2.  Samples of all specified materials and Safety Data Sheets (SDS) as appropriate.

3.  Certificates, except where the material is labeled with such certification, by the producers, of the materials, that all materials supplied comply with all the requirements of these specifications and the appropriate standards.

4.  Color-match patch samples fabricated on pieces of appropriate masonry from or on the building using the specified repair mortar as required.

5.  Written verification that all specified items will be used.  Provided purchase orders, shipping tickets, receipts, etc. to prove that the specified materials were ordered and received.

C.  Restoration Program:  Submit written program for each phase of restoration process including protection of surrounding material on building and site during operations.  Describe in detail material, methods and equipment to be used for each phase of restoration work.

D.  SUBSTITUTIONS

1. If alternative methods and materials to those indicated are proposed for any phase of restoration work, provide written description, including evidence of at least 10 years' successful use on other, comparable projects, and program of testing to demonstrate effectiveness for use on this project. Provide documentation showing compliance with the requirements for substitutions and the following information:

a. Coordination information, including a list of changes needed to other work that will be necessary to accommodate the substitution.

b. A comparison of the substitution with the specified products and methods, including performance, weight, size, durability, and visual effect.

c. Product data, including specifications for products and installation procedures.

d. Samples, where applicable, or as requested.

e. A statement indicating the effect on the Contractor's Construction Schedule compared to the schedule without approval of the substitution. Indicate the effect of the substitution on Contract completion time.

f. Cost information, including a proposal of the net change, if any, in the contract sum.

g. Certification that the substitution conforms to the contract documents and is appropriate for the applications indicated. Material substitution requests must be accompanied by independent laboratory test reports from a lab designated by the architect to establish equivalent performance levels and specification compliance. Testing shall be paid for by the submitting party.

h. The Contractor's waiver of rights to additional payment or time that may become necessary because of the failure of the substitution to perform adequately.

1.4 DELIVERY, STORAGE AND HANDLING:

A.  Deliver materials to site in manufacturer's original unopened containers and packaging, bearing labels as to type and names of products and manufacturers.

B.  Deliver and store restoration material in manufacturer's original, unopened containers with the grade, batch and production data shown on the container or packaging.

C.  Protect restoration materials during storage and construction from wetting by rain, snow or ground water, and from staining or intermixture with earth or other types of materials.

D.  Protect grout, mortar and other materials from deterioration by moisture and temperature.

Store in a dry location or in waterproof containers.  Keep containers tightly closed and away from open flames.  Protect liquid components from freezing.  Comply with manufacturer's recommendations for minimum and maximum temperature requirements for storage.

F.  Comply with the manufacturer's written specifications and recommendations for mixing, application, and curing of grouts and patching materials.

1.5 PROTECTION / SITE CONDITIONS

A.  Protect persons, motor vehicles, building site and surrounding buildings from injury resulting from masonry restoration work.

B.  Clean masonry surfaces only when air temperatures are above 40 degrees F (4 deg. C) and will remain so until masonry has dried out, but for not less than 7 days after completion of cleaning.

C.  Do not perform any masonry patching unless air temperatures are between 40 degrees

Fahrenheit (10 deg. C) and 90 degrees Fahrenheit (32deg. C) and will remain so for at least 48 hours after completion of work.

D.  Prevent masonry patching materials from staining the face of masonry or other surfaces to be left exposed.  Immediately remove all patching materials that come in contact with such surfaces.

E.  Cover partially completed work when work is not in progress.

F.  Protect sills, ledges and projections from droppings.

1.6 SEQUENCING / SCHEDULING:

A.  Perform masonry restoration work in the following sequence:

1.  Repair and/or replace existing roofing, flashing, drains and leaders as indicated.

2.  Remove paint, stains and plant material from all masonry surfaces.

3.  Rake-out existing mortar from joints of masonry indicated to be restored.

4.  Re-point existing mortar joints of masonry indicated to be re-pointed.

5.  Pressure-wash building exterior.

6.  Patch and repair existing stone structures as indicated, including replacing damaged 	masonry units with new masonry units where indicated.

7.  Provide water repellent treatment for masonry structures as indicated. Water 	repellent/consolidant is specified in Section 07180.

8.  Provide special coating over indicated sections to match the existing color of the original, adjacent masonry units.  Special coating is specified in Section 09800.

PART 2 – PRODUCTS

2.1 CLEANING MATERIALS:

- Cleaning products shall be non-ionic, detergent-based masonry building wash.  Material shall be non-corrosive, non-toxic, and water soluble.

- Products:  The following shall be assumed to meet the quality and performance requirements specified:

- “E-Wash 30”, by Edison Coatings, Inc., Plainville, CT, (860)-747-2220, or approved equal.

2.2 REPOINTING MORTAR MATERIALS:

A. Re-pointing mortar shall be a pre-mixed, pre-colored cement-lime based mixture formulated

to comply with the requirements of ASTM C-270 Type N mortar.

1. Products: The following shall be assumed to meet the quality and performance requirements specified:

a. "SPEC-JOINT 46", by Edison Coatings, Inc., Plainville, CT, (860) 747-2220, or approved equal.

b. If proposed equal is submitted, thorough lab testing shall be required to establish equivalent performance levels.   An independent testing laboratory shall be utilized as determined by the Architect and paid for by the submitting party.

2.3-1 CRACK REPAIR MATERIALS – NON-WORKING

A. Flexible epoxy crack sealant for use on cracks from 1/32 inch to 1/8 inch shall be a 100% solids two-component epoxy-urethane-acrylate paste with minimum 10% elongation, 300 psi direct tensile bond strength and 10,000 psi tensile strength. Product shall be applicable to metals, masonry, concrete and other substrates as required, and shall be appropriate for use at ambient temperatures from zero degrees to 100 degrees Fahrenheit (-18 to 38 degrees Centigrade).

1. Products: The following shall be assumed to meet the quality and performance requirements specified:

a. FLEXI-FILL 530, as manufactured by Edison Coatings, Inc., Plainville, CT, Phone (860) 747-2220.

B. Cementitious void filler shall be an ultra-fine, super-plasticized, polymer- modified injection

grout. Cementitious grout shall be suitable for application in wet or dry cracks, shall develop

direct tensile bond strength of 100 psi minimum, shall exhibit less than 0.06% drying shrinkage,

and shall have a linear coefficient of thermal expansion of 0.000004 to 0.000008 inches/inch

per degree Fahrenheit.

1. Products: The following shall be assumed to meet the quality and performance requirements specified:

- PUMP-X 53i, as manufactured by Edison Coatings, Inc., Plainville, CT, Phone (860) 747-2220.

2.3-2 CRACK REPAIR MATERIALS – WORKING

Working cracks should always be evaluated by a qualified structural engineer before repair.  The cause of the cracking should be determined and remedied before repair.  Once considered safe by the engineer, working cracks can be detailed before application of ELASTOWALL 351 re-glazing material.

- Flexible acrylic crack sealant for use on cracks 1/32 inch to 1/16 inch with a minimum of 300% elongation, 200 psi tensile strength, and 12 perms of vapor permeability.  Product shall be applicable to metals, masonry, concrete and other substrates as required.

- Products: The following shall be assumed to meet the quality and performance requirements specified:

- ELASTOMASTIC 352, as manufactured by Edison Coatings, Inc., Plainville, CT, Phone (860) 747-2220.

- Flexible acrylic crack sealant for use on cracks 1/8 inch to 1/4 inch with a minimum of 125% elongation, 200 psi tensile strength, and 10 perms of vapor permeability.  Product shall be applicable to metals, masonry, concrete and other substrates as required.

- Products: The following shall be assumed to meet the quality and performance requirements specified:

- ELASTOFILL 354, as manufactured by Edison Coatings, Inc., Plainville, CT, Phone (860) 747-2220.

- Flexible polyurethane caulking material for use on cracks of 1/4" or greater.  Cracks to be detailed according to proper expansion joint detailing and geometry.  Product shall be applicable to metals, masonry, concrete and other substrates as required.

2.4 PATCHING MATERIALS:

A.  Patching materials shall be premixed, two-component cementitious materials with self-cross-linking acrylic latex modifier, formulated to match the color and texture of the existing materials. Materials must be vapor permeable, frost and salt resistant, shall develop direct tensile bond strength of 150 psi minimum, shall exhibit less than 0.06% drying shrinkage, and shall have a linear coefficient of thermal expansion of 0.000004 to 0.000007 inches/inch per degree Fahrenheit. Materials shall be compatible with substrate, including but not limited to porosity, tensile, and compressive strength. Modulus of elasticity shall be 65,000 to 100,000 psi. Non-latex mortars shall be unacceptable. Material shall have a minimum 10-year successful performance history for similar projects.

1.  Products:  Subject to compliance with requirements, provide the following:

a. Deep repairs to terra cotta bisque: "Custom System 45" by Edison Coatings, Inc., (860) 747-2220.

b. Thin-section glaze-spall repair and surface profiling of deep repairs: “Thin Fill 55” by Edison Coatings, Inc., (860) 747-2220.

c. If proposed substitute is submitted, thorough lab testing shall be required to establish equivalent performance levels. An independent testing laboratory shall be utilized as determined by the Architect and paid for by the submitting party.

2.5 RUST INHIBITIVE COATING/PRIMER

A.  Rust inhibitor/primer for steel anchors shall be a pre-packaged, 2-component, acrylic latex modified silica fume-cement mortar.

1. Products: Subject to compliance with requirements, provide the following:

a. "SYSTEM 49 CPBA", by Edison Coatings, Inc., Plainville, CT, (860)747-2220.

b. If proposed equal is submitted, thorough lab testing shall be required to establish equivalent performance levels. An independent testing laboratory shall be utilized as determined by the Architect and paid for by the submitting party.

2.6 REINFORCING MATERIALS

A.  Pins / Threaded rods:  Type and size are specified herein and as indicated on the Contract Drawings, if not indicated, as per patching materials manufacturer's recommendation.

Anchors and dowels shall be fabricated from ANSI Type 302/304 stainless steel.

B.  Mechanical anchors and dowels (for deep repairs and overhanging repairs):

Stainless steel threaded road (ASTM F-593) with a diameter as indicated on Contract Drawings, bent and cut to lengths required to achieve embedments shown on Contract Drawings.  Cut end of rod square.

C.  Adhesive:  Adhesive shall be a two component, flexible epoxy gel, with minimum 4% elongation, 300 psi direct tensile bond strength, and 10,000 psi tensile strength. Product shall be applicable to metals, masonry, concrete and other substrates as required, and shall be appropriate for use at ambient temperatures from zero degrees to 100 degrees Fahrenheit (-18 to 38 degrees Centigrade).

1. Products: Subject to compliance with requirements, provide the following:

a. FLEXI-WELD 520T, as manufactured by Edison Coatings, Inc., Plainville, CT (860) 747-2220.

b. If proposed equal is submitted, thorough lab testing shall be required to establish equivalent performance levels. An independent testing laboratory shall be utilized as determined by the Architect and paid for by the submitting party.

2.7 GLAZE REPLACEMENT

A. Breathable Matte-Finish Coating: Breathable matte-finish coating shall be a one-component, internally plasticized acrylic elastomer, with min. 160% elongation at 75 degrees Fahrenheit and 80% elongation at 0 degrees Fahrenheit. Minimum solids content shall be 70%. Glass transition temperature shall be a maximum of 15 degrees below zero Fahrenheit.

1. Products: Subject to compliance with requirements, provide the following:

a. ELASTOWALL 351, as manufactured by Edison Coatings, Inc., Plainville, CT (860) 747-2220.

B. Terra Cotta Glaze Replacement: Glaze replacement shall be a breathable, one component, self-crosslinking aliphatic polyurethane emulsion with minimum 50% elongation, 5000 psi tensile strength, 48 Sward hardness and minimum 1500 hours UV stability (Fadeometer).

1. Products: Subject to compliance with requirements, provide the following:

a. AQUATHANE UA-210E, as manufactured by Edison Coatings, Inc., Plainville, CT (860) 747-2220.

(1) Clear glaze applications: Clear Aquathane UA210E with Type G bonding additive.

(2) Pigmented glaze applications: Pigmented Aquathane UA210E with Primer 240.

C. Special Effects Coatings: Flake finish or speckle finishes shall be breathable, one component, self-crosslinking aliphatic polyurethane emulsions with minimum 50% elongation, 5000 psi tensile strength, 48 Sward hardness and minimum 1500 hours UV stability (Fadeometer).

1. Products: Subject to compliance with requirements, provide the following:

a. AQUASPEX 220, as manufactured by Edison Coatings, Inc., Plainville, CT (860) 747-2220.

PART 3 – EXECUTION

3.1 CLEANING EXISTING MASONRY AND STONE

A. General:

1. Proceed with cleaning in an orderly manner, work from top to bottom of each staging area and from one end of each elevation to the other.

2. Use only those cleaning methods indicated for each masonry material and location.

3. Perform each cleaning method indicated in a manner which results in uniform coverage of all surfaces, including corners, moldings, interstices and which produces an even effect without      streaking or damage to masonry surfaces.

4. Rinse off chemical residue and soil working upwards from bottom to top of each treated area at each stage or scaffold setting.

3.2 WORKMANSHIP OF PATCHING MATERIAL:

A.  Patching material workmanship shall comply with all applicable recommendations of material manufacturer's written specifications and requirements and/or as modified in this and following sections.

B.  Mixing of patching material:  Mix the patching material in accordance with Manufacturer's printed instructions.

C.  Do not use any additives, such as bonding agents, accelerators, or retarders, in the patching material without prior written approval from the Manufacturer.

3.3 SURFACE PREPARATION:  (for all patching work)

A.  Patching and repair work for spalled terra cotta shall be accomplished with the approved patching material, according to manufacturer's printed instructions and as specified herein.

B.  At areas to receive patches, remove all loose, spalled and deteriorating materials.  If required cut away an additional 1/4 to 1/2 inch of the substrate that may be in the process of deteriorating and to ensure the surface to be patched is solid and stable. "Sound" substrate with a hammer to verify its integrity.

C.  Remove any soil, mortar, dust, salts and other foreign material from areas to receive patching compound.

D.  Once the deteriorated material in a spalled area has been removed, rust on any exposed anchors must be removed by wire brush or local sandblasting.  Remove material around stell anchor to provide a minimum of 1/2 inch clearance.  Apply approved rust-inhibitive bonding agent to cleaned reinforcement.

E.  Remove anchors that are severely corroded, loose or are of no structural value. Removal shall be done upon evaluation of the field condition and approval by the Architect or Engineer. Repair damage to substrate resulting from removal by patching with the approved patching material.

F.  Cut out sections shall be squared off at the edges. Do not overcut corners of the patch; stop short of corner and chip out remainder by hand without damaging surrounding masonry. Do not allow any feathered edges in the patch areas.

G.  For very dry or porous surfaces, pre-wet the substrate ahead of time to prevent the substrate from drawing moisture out of the patch too quickly. Re-wet the surface just before applying the patching material.

3.4 DEEP/BISQUE PATCHING REPAIR WORK:

A.  Prepare and mix patching material in accordance with manufacturer's directions. Prepare and mix a slurry coat consisting of 3 parts patching material dry component and one part liquid component. Apply to prepared and pre-dampened cavity by brush, working slurry into corners, edges and surface depressions. Apply as a thin coating only, avoiding heavy build-up or filling of surface depressions.

B.  Patching material shall be applied by trowel, casting-in-place or other techniques recommended by approved materials manufacturer for each specific field condition.

C.  Air, surface and product temperature must all be above minimum temperature of 40 deg F

(10 deg C) at time of application and must be maintained above minimum until product has dried thoroughly.

D.  When patching by hand, apply patching material while slurry coat is still soft and damp. Apply patching material in one layer or several layers according to the depth of the repairs.

Comply with manufacturer's instructions when applying multiple layers for thickness of each layer, setting-up time for each layer, surface preparation between layers, etc., to ensure sound adhesion between layers.

E.   For repairs not subject to subsequent application of reprofiling mortar, final application of repair mortar shall be at the desired surface level and shall be tooled, shaped or carved as required to achieve proper surface profile and texture. Surfaces shall be tooled to replicate the texture, and detailing of the original surface. Do not sponge float the patch. Keep tools clean by frequent washing in clean water, but remove excess water to avoid introducing water into patch surfaces.

F.  Under hot conditions, as directed by Manufacturer, cover and cure repaired areas in accordance with manufacturer's directions.  Keep patches moist and out of direct sun for at least the first day.

G.  To avoid rapid evaporation, do not patch in direct sunlight.  If necessary, cover work with tarpaulin or wet burlap.

3.5 PATCHING FOR OVERHANGING REPAIR:

A.  At areas of large, deep and overhanging repairs the installation of mechanical keying or anchoring is required.  The decision whether to anchor and how frequently to provide anchors shall be based on structural requirements, the conditions of the substrate, patch dimensions and weight, and the extent to which patch integrity will rely on adhesion alone. Typical procedures are outlined in this section and shall be modified as recommended.

B.  Drill 1/4" to 1/2" diameter holes at various angles, spaced 4 to 6 inches apart in staggered rows. Clean holes using compressed, oil-free air.

C.  Insert threaded stainless steel rods into drilled holes. At least 3/4" of patching material is to be placed over the rods, which are to be secured into the holes with the specified adhesive.

D.  Prepare and mix patching material in accordance with manufacturer's directions.  Comply with all safety precautions, environmental limitations and work time limitations.

E.  Dampen patch area immediately prior to application of patching material to create a good bond. Using a masonry brush, apply bondcoat to patch area, working into corners, edges and profile. Apply bond coat only to area of patch that can be covered with patch material mix before bond coat dries. Work bond coat into pieces of the substrate and under and around mechanical anchors. Do not apply excess bond coat. Do not allow bond coat material to run down onto surfaces which will not be repaired.

F.  Apply patching material to deep sections by building up in a series of multiple lifts. Comply with manufacturer's instructions for thickness of each layer, setting-up time for each layer, and surface preparation between layers to ensure sound restoration. Work patching material into all corners of repair area and under and around mechanical anchors; including the existing coated reinforcements.

G.  For repairs not subject to subsequent application of reprofiling mortar, final application of repair mortar shall be at the desired surface level and shall be tooled, shaped or carved as required to achieve proper surface profile and texture. Surfaces shall be tooled to replicate the texture, and detailing of the original surface. Do not sponge float the patch. Keep tools clean by frequent washing in clean water, but remove excess water to avoid introducing water into patch surfaces. To re-create original ornamentation, if applicable, apply an extra-thick patch.  Then after the patch is partially cured the patching material shall be carved, using molding profiles and/or straight edges to restore original ornamentation.  In all cases, finish patch so that it is as indistinguishable as possible from adjacent surfaces.

H.  Clean any patching material residue from area surrounding the patch by sponging as many times as necessary with clean water.  This should be done before patching material sets.

I.  Moisten, cover and cure repaired areas in accordance with manufacturer's directions.

3.6 REPROFILING MORTAR APPLICATION

A. For thin glaze-spalls over sound bisque, re-profiling mortar may be applied directly to prepared bisque surfaces. After sounding with a wooden mallet to identify all glaze delaminations, scrape or grind to remove unsound glaze materials. Chip at least ¼” beyond the area of delamination to assure that marginally-adhered glaze is removed.

B. For re-profiling mortar applications over bisque repair mortar, the deep repairs should be finished with a rough, shaved profile 1/8 to 1/4 inch below the final profile.

C. Dampen patch area immediately prior to application of patching material to create a good bond. Prepare and mix patching material in accordance with manufacturer's directions. Apply and compact re-profiling mortar, slightly over-building the surface.

D. Sand patches level after initial set. Using #60 grit non-burnishing sanding media, remove all ridges and trowel marks.

E. For fluted or striated finishes, tool surfaces immediately after coarse sanding.

F. For smooth finishes, perform a second surface sanding using #220 grit non-burnishing sanding media.

3.7   REPAIRING CRACKS AND VOIDS

A.  Prepare cracked area in accordance to manufacturer's written instructions. Typical procedures are outlined in this section and shall be modified according to approved materials manufacturer.

B.  Crack repair for microscopic cracks:

1. Coat all designated areas exhibiting microscopic cracking and crazing using the specified glaze replacement coating.

C.  Crack repair for cracks wider that 1/32" and les than 1/8”:

1. Using a Dremel tool and narrow cutting blade, slightly enlarge the surface of the crack to a 1/8 inch wide x 1/4 inch deep groove.

2. Mix and apply flexible epoxy sealant, tooling into the face of the crack and forcing the material into the cavity to achieve complete fill. Adjacent surfaces should be masked if required to prevent any smears from bonding to masonry surfaces.

3. Once the sealant has reached initial cure, slice off excess sealant, leaving a repair that is clean and flush with adjacent surfaces.

D. Cracks wider that 1/8 inch:

1.  Remove loose and spalling materials, cut into crack to a minimum depth of ½ inch and a width of 1/4 inch.  If embedded reinforcements are rusted then cut-material deep enough to expose the rusting reinforcements and remove material around reinforcement to provide a minimum of 3/4 inch clearance for patch material.

2.  Clean and coat exposed reinforcements at patch work with an approved rust- preventative agent.

3.  Fill enlarged areas of crack repair with patching material, following repair procedures outlined in this section under Part 3.

E. Injection of Voids:

1. Inject cementitious crack repair material into designated voids and cracks, using syringes, grout pumps, or other types of injection apparatus suitable for size of crack, distance crack repair material must travel and viscosity of material used.  Seal surfaces as required to prevent crack injection material from leaking out and to facilitate pumping.  Take caution not to stain the face of adjacent surfaces. Immediately wipe spills off surfaces with clean rag and compatible solvent.

3.8 GLAZE REPLACEMENT COATING

A. Prior to the application of glaze replacement coating all surfaces must be prepared in accordance with this section of the specifications. The result of this preparation shall render a surface clean, meaning having complete exposure of sound surface without any deposits of contaminants, coatings, compounds, laitance or foreign matter which could affect the bond between the surface and glaze replacement coating materials.

B. Surfaces to receive glaze replacement coating must be surface-dry prior to coating.

C. All caulking, patching, crack repair materials and joint sealants should be installed prior to application of the glaze replacement coating. New reprofiling mortars shall have through-dried before coating application. Deep patching materials shall have cured a minimum of 3-5 days prior to application, or longer, as required to through-dry.

D. Apply the primer and/or coatings selected for use in accordance with manufacturer’s instructions.

1. If primer has been selected for use, apply primer at specified coverage rate to clean, dry or damp surfaces using brush, roller or airless spray. Allow primer to through-dry to a tack-free, tough film prior to top coating.

2. Matte-finish coatings shall be applied to dry surfaces by phenolic core roller or airless spray at a rate of 100-125 sq. ft. per gallon. Product shall be applied as evenly as possible at 14 - 16 mils wet film thickness.

3. Terra cotta glaze coatings shall be applied by roller, brush or airless spray as required to achieve appearance matching original glazes. On applications extending onto existing terra cotta glaze follow instructions for incorporation of bonding additive into the coating, and discard any unused coating mixed with bonding additive that is not applied within 8 hours.

4. Allow the first coat to dry-through completely prior to second coat application. Through-dry coating will be seen as tough, firm, tack-free material which does not extrude or appear to be "skinned over".  Cure times are affected by temperature, porosity of the substrate, wind, relative humidity, and direct sun vs. shade.  No curing will occur if relative humidity is above 95%.

5. Protect all uncured surfaces from rain, dirt, traffic and wind-blown debris for at least 24 hours after application. For horizontal/traffic bearing surfaces, coating should be tack- free and through-cured before subjecting to traffic or immersion. Cure rate is affected by temperature and other application parameters.

3.9 FINAL INSPECTION & CLEANING

A. All patches shall be inspected for soundness and finish prior to coating. Unacceptable patches are defined as those with hairline cracks or showing separation from repair edges, or on which "hollow spots" can be detected by light impact.  Remove unsound patches and refill to provide patches free of those defects.

B. Final Cleaning: No steam cleaning or additional pressure cleaning shall be performed within

28 days of patch installation. No acid or alkali cleaning agents shall be used except as directed by the repair system manufacturer.